## BRA CMMS Requirements
Brazos River Authority CMMS Upgrade
CMMS Business Functions / Functional Requirements Form
Please respond to each funcionality requirement entering a "X" in the applicable column (Yes or No) and complete the comments column as needed to support the response. Respondents must use only one code per requirement. Respondents can provide comments for each requirement. Respondents are to submit this table with the other required forms under Tab L (Required Forms) in their proposals. Note: The responses to this survey will be compared to vendor services and software licenses at the time of purchase. Please see the instructions in the main body of the RFP. Do not alter, add, delete, or modify the left column listing the requirements.
Valid Responses | Description | Comments Column
Yes | Supported in standard configuration
No | Not supported or requires vendor modifications (customization). | Provide additional information
FUNC. # | FUNCTIONALITY CATEGORY / DESCRIPTION | Functionality Provided Out-of-the-Box |  | If Functionality is NOT Provided Out-of-the-Box, Comment on How it Could be Provided with Customization | Functional Priority | 1= must have or common functionality
|  | YES | NO | COMMENTS |  | 2= nice to have
GENERAL INFORMATION – CATEGORY 1 | [5 empty] | 3= really nice to have
Security and Data Integrity – Part A
1 | Does the application support integrated windows authentication? |  |  |  | 1
2 | Are there unlimited numbers of security levels and roles? |  |  |  | 1
3 | Does the application and database provide referential integrity? |  |  |  | 1
4 | Can the application control add, change, and delete capabilities in all areas of the program? |  |  |  | 2
5 | Is there an audit trail capability allowing tracking of all logins and data changes? |  |  |  | 1
6 | Does the application have an error-checking capability for data formats, ranges, and user-definable logic? |  |  |  | 2
7 | Are error, warning and other messages customizable by the user? |  |  |  | 2
8 | Does the application support electronic signatures for closing work orders, approving purchase orders, and generating service requests? |  |  |  | 2
9 | Do all security levels, roles, audit trails, and electronic signatures apply in the same manner to mobile devices? |  |  |  | 2
10 | Is your application tested and certified against Microsoft service packs, updates, and patches? If yes, please comment on your process and frequency for testing, certification, and release of application patches. |  |  |  | 1
User Interface – Part B
1 | Is the application fully web based with no desktop application installation required? |  |  |  | 1
2 | Can users create a template for any form (e.g., work order, PO, service request), including add/change/delete/hide capability for default values, tabs, fields and field labels? |  |  |  | 2
3 | Are all application and form customizations upgradeable with software version upgrades? If no, please comment. |  |  |  | 2
4 | Are there navigation aids to assist the user in minimizing movement between screens (e.g., user-definable tabs and toolbars; user-defined 'favorites'; user-definable hotkeys; user-definable macros)? |  |  |  | 3
5 | Can the administrator add an unlimited number of custom fields? |  |  |  | 2
6 | Can the user easily customize the look and feel of screens? (e.g., user-definable color options; use of distinguishing features such as use of shading or color to show 'required', 'optional', 'default', and 'display only' fields)? |  |  |  | 2
7 | Can the administrator make changes to the database from within the CMMS for all data fields? (e.g. change field type/length, edit default/valid values, add formulas/references to other fields) |  |  |  | 2
Look-Ups and Searches – Part C
1 | Are look-up tables available and easily accessible for editing, for all coded fields? |  |  |  | 2
2 | Are word searches available for all look-ups, (e.g., variety of wildcard options, auto-complete, search based on partial data)? |  |  |  | 2
3 | Is there an easy-to-use search and replace feature available from within the CMMS for all field names, menu and screen labels, help text, and data (e.g., replace all mentions of "Widget 101" with "Acme 200")? |  |  |  | 2
Data Entry – Part D
1 | Is there a quick data entry screen for high-volume entries, such as system start-up or a dispatch desk, (i.e., customizable, multi-column 'spreadsheet mode' for any data entry screen)? |  |  |  | 2
2 | Is there a data import through an external file (csv file, MS Excel spreadsheet) capability to facilitate bulk load or bulk modification of asset records, work order information, or maintenance activities? |  |  |  | 2
3 | Is there a copy feature built into the CMMS that allows users to copy repetitive data for ease of data entry? |  |  |  | 2
4 | Can the user define all default values to ease data entry? |  |  |  | 2
5 | When entering data, can the user use word processing functionality to facilitate data entry, (e.g., word wrap; undo/redo feature; formatting capability such as bold, italic, underline, superscript, font change)? |  |  |  | 2
6 | Can users add to master files and coded field tables 'on the fly' when entering data, without leaving the working screen (e.g., create an asset or add a problem code when entering a work order)? |  |  |  | 2
Help Features – Part E
1 | Does the application provide online help for end users for functions, fields, screens, menu items, icons, and codes? |  |  |  | 1
2 | Is there online help specific to procedures (i.e., 'how-to' help, flowcharts, screen shots, examples, hyperlink to the actual screens)? |  |  |  | 2
3 | Can the application administrator add or modify online help files? |  |  |  | 2
4 | Is there a help index and search function? |  |  |  | 2
5 | Is the original working screen visible while using the online help feature? |  |  |  | 2
6 | Can online help messages be printed? |  |  |  | 2
7 | Is there a Wizard feature which guides users through pre-defined processes such as work order creation, work order closing, PO creation, and establishment of a work flow? |  |  |  | 2
8 | Please comment on how much classroom/CBT training you would recommend for the average novice user to take for your CMMS? Provide recommendations for the following personnel: - Maintenance supervisor - Maintenance planner - Operations and maintenance technician - Buyer - Non-maintenance employee |  |  |  | 2
Priorities - Part F
1 | Are work order priority fields available by type of work order based on work priority of the target asset? |  |  |  | 1
2 | Can a scoring system be assigned for ranking the criticality of assets, as well as define relative risk? |  |  |  | 1
3 | Will the priority automatically increase if work is not completed on schedule, according to a user-defined algorithm? |  |  |  | 2
4 | Are priorities combined and used to propose time frames for task scheduling? |  |  |  | 3
5 | Will the system update equipment or work order priorities if identified backup equipment is removed from service? |  |  |  | 3
Planning and Scheduling – Part G
1 | Can the schedule display in-process work orders, including revised hours by craft and crew to completion or % completion? |  |  |  | 2
2 | Does the schedule display shutdowns, peak production periods, holidays? |  |  |  | 2
3 | Is there a graphical schedule showing workload and resource availability by crew by day, with drilldown to work order details? |  |  |  | 1
4 | Can work orders and/or available resources be dragged and dropped on a graphical schedule? |  |  |  | 3
5 | Can laborers be assigned to work orders at any level on the equipment tree hierarchy based on job skills, location, safety requirements or employee schedule? |  |  |  | 1
6 | Can 'what-if' analyses be conducted on the schedule? |  |  |  | 2
7 | Can resources such as tools, cranes, or special equipment be scheduled, analyzed for utilization, and cost tracked? |  |  |  | 1
8 | Are project management tools (PERT) or applications (MS Project) available directly through the application to schedule projects, preventive maintenance, and planned maintenance? |  |  |  | 3
9 | Does the application contain features and functions for multi-year, long term, capital asset planning? (e.g. capital planning and budgeting, asset portfolio condition/risk assessment, asset rehabilitation and replacement cost forecasting models) |  |  |  | 2
10 | Does the scheduling have functions for resource balancing utilizing planned absences and downtimes? |  |  |  | 1
11 | Does the scheduling module recognize employee training/certification information by specific criteria (e.g. date range) when manually/auto assigning employees to work activities? |  |  |  | 2
12 | Can schedules establish seasonality and multiple blackout periods for work orders and assets (i.e. start/stop dates, winter/summer)? |  |  |  | 2
Budget – Part H
1 | Does the application integrate directly with financial system general ledger (G/L)? |  |  |  | 2
2 | Can actual maintenance costs be tracked and budgeted down to the G/L account code? |  |  |  | 2
3 | Is the budgeting module directly integrated with the planned (committed) hrs./materials on the Work Orders? |  |  |  | 2
4 | Can multiple cost types be budgeted and actual costs tracked against them? |  |  |  | 1
5 | Is there detailed budgeting available for capital projects? |  |  |  | 2
6 | Can what-if analyses be conducted on project/program budgets? |  |  |  | 3
7 | Is activity based costing available? |  |  |  | 1
8 | Are activity codes linked to G/L account codes? |  |  |  | 2
9 | Can budgets be assigned for activity tasks/codes? |  |  |  | 2
Asset Tracking - I
1 | Can time and materials be charged directly to an asset? |  |  |  | 1
2 | Can time and materials be charged directly to a high level group of assets? |  |  |  | 1
3 | When assets are tracked, can user defined status be assigned (e.g., out for repair)? |  |  |  | 1
4 | Can assets be identified as repairable with min/max values, attach rebuild specifications and spare parts, and capture rebuild data? |  |  |  | 2
5 | Can assets be identified as requiring inspection or other quality control procedure? |  |  |  | 1
6 | Can asset move history be tracked following multiple transfers between locations or sites? |  |  |  | 1
7 | Does asset move history show move date, from/to location, from/to parent, WO/PO #'s, & move cost? |  |  |  | 2
8 | Can costs be tracked for multiple lives of an asset (e.g., after rebuild), or total across all lives? |  |  |  | 2
9 | Can actual repaired asset value be tracked in addition to asset depreciated value? |  |  |  | 2
10 | Can an average repair cost be assigned to an asset? |  |  |  | 1
Mobile Technology - J
1 | Can the application be deployed with mobile technology (e.g., mobile handhelds and tablets)? |  |  |  | 1
2 | Can work orders be accessed via the mobile device and completed with hours worked, work done, and parts used? |  |  |  | 1
3 | Can spare parts required and other inventory information be accessed from mobile device? |  |  |  | 1
4 | Can tools, materials, and required safety equipment be accessed from mobile device? |  |  |  | 1
5 | Can a built-in scanner on the mobile device be used for reading 2D/3D/QR barcodes on assets/parts/badges? |  |  |  | 2
6 | Can work requests be entered and accessed via the mobile device (e.g., upon PM inspection)? |  |  |  | 1
7 | Can the full work order and asset history be accessed via the mobile device? |  |  |  | 2
8 | Can asset and work order-related schematics, GIS maps, PDFs, photos, and videos be accessed via the mobile device? |  |  |  | 2
9 | Can required safety/environmental documents for a specified work activity (e.g., hazardous chemical handling procedures) be accessed via the mobile device? |  |  |  | 2
Personnel Management – Part K
1 | Does the CMMS allow users to record personnel information (i.e. date of hire, education, vacation schedule, skills, training history, competencies, pay rates)? |  |  |  | 1
2 | Can users search for various competencies (i.e., certification, licenses, languages, skills, recertification notification, training history, contractor qualifications, etc.) in scheduling work orders with available internal and contractor resources? |  |  |  | 2
Barcode Technology - L
1 | Are barcoding systems supported by the application? |  |  |  | 1
2 | Can barcode labels be printed for equipment/components, inventory parts/bins, and employee IDs? |  |  |  | 1
3 | Are barcode label layouts user-definable? |  |  |  | 1
Integration – Part M
1 | Does the application integrate with INFOR (ERP) software? If yes, identify which application modules and explain the level of integration that can be achieved. |  |  |  | 2
2 | Does the application integrate with the SCADA application and Historian data collection (e.g. for pump run times)? If yes, briefly describe the level of integration and the integration requirements. |  |  |  | 2
3
4 | Does the application integrate with another CMMS such as FacilityDude that is used by the City's facilities maintenance for building maintenance work orders and inventory? If yes, briefly describe the level of integration and the integration requirements. |  |  |  | 2
5 | Does the application integrate with 3rd party wireless handheld devices? If yes, briefly describe the level of integration and the integration requirements. |  |  |  | 3
6 | Does the application integrate with Autodesk AutoCAD software for smart asset tags? If yes, briefly describe the level of integration and the integration requirements. |  |  |  | 3
7 | Does the application integrate with ESRI ArcGIS software? If yes, briefly describe the level of integration and the integration requirements. |  |  |  | 2
8 | Does the application integrate with an Microsoft Exchange Online and Outlook email? If yes, briefly describe the level of integration and the integration requirements. |  |  |  | 2
9 | Does the application integrate with Microsoft Project scheduling software? If yes, briefly describe the level of integration and the integration requirements. |  |  |  | 3
10 | Does the application integrate with Microsoft SharePoint for electronic document and content management? If yes, briefly describe the level of integration and integration requirements. |  |  |  | 2
11 | Does the application integrate with external condition assessment applications? (e.g. vibration analysis software) If yes, briefly describe the level of integration that can be achieved. |  |  |  | 3
Technology Architecture – Part N
Which of the following technologies are included as an integral part of the application (please comment on any limitations or optional modules that would need to be licensed separately):
1 | Workflow engine? |  |  |  | 1
2 | Graphical viewing tools (image rendering, supported formats)? |  |  |  | 1
3 | Electronic Document Management (version control, check in/out, search index, red lining, etc.)? |  |  |  | 2
4 | Application Development tools (used to build the screens, forms, layouts, etc.)? |  |  |  | 1
5 | Business Intelligence tools (reporting tools and analysis)? |  |  |  | 2
6 | Dashboard/portals (report and information dashboards)? |  |  |  | 1
7 | Does the application support REST APIs and XML (Extensible Markup Language) protocols? |  |  |  | 2
8 | Is the application extensible so that new tables and fields can be added to the database? If yes, please comment on any limitations. |  |  |  | 2
9 | Is an API (Application Programming Interface) provided? |  |  |  | 1
10 | Application provides for Single Sign-On (SSO) between Microsoft Active Directory (AD) and/or Azure AD user accounts? |  |  |  | 1
11 | Application provides the ability to administer user accounts from a single screen within the application and interfaces in real-time with AD objects (users and/or computers)? |  |  |  | 2
12 | Application uses Active Directory or LDAP supported interfaces to query and provide information? |  |  |  | 3
13 | Application allows for SSL encrypted (minimum 128 bits) communication with AD? |  |  |  | 3
14 | Application supports latest Google Chrome, Microsoft Edge, and Mozilla Firefox web browsers? |  |  |  | 1
ASSET INFORMATION – CATEGORY 2
Vertical Asset Registry – Part A
1 | Does the application handle the multiple rollup hierarchies within the vertical asset registry (e.g. buildings, process areas, equipment types)? |  |  |  | 1
2 | Is there a user-definable specification template for recording tombstone data for equipment, components, parts, and personnel? |  |  |  | 1
3 | Is there a Microsoft Windows Explorer style search and lookup capability for the application asset/equipment hierarchy, with drag and drop functionality for copying and moving objects? |  |  |  | 2
Linear Asset Maintenance – Part A
1 | Does the application handle the inventorying of 'linear assets' such as water pipelines, as well as accurate recording of work orders on linear assets? |  |  |  | 1
2 | Does the application track sewer manholes, pipe specifications, pipe dimensions, and other appurtenances (e.g. cleanouts, valves, easements)? |  |  |  | 1
3 | Can the application rate the condition of each linear asset or group of assets using methods that include deficiency scoring (i.e. NASSCO PACP), 'general defect weighting' method, and 'percentage of new' methods? |  |  |  | 2
4 | Can the application track both rehabilitation costs in addition to maintenance costs (e.g., put a sleeve over a crack on a pipe, versus removal of debris)? |  |  |  | 1
5 | Can the application track work orders external to the agency (i.e. traffic plans, highway construction)? |  |  |  | 3
Safety – Part B
1 | Are safety tasks/instructions recorded against work orders? |  |  |  | 1
2 | Does the application integrate with the Global Harmonized System (GHS) for safety standards including integration with inventory, work order, purchasing, and document management modules? |  |  |  | 2
3 | Does the application support the lockout/tagout functionality required to meet OSHA safety standards, including job hazard/risk identification, equipment-specific procedures, permit and certificate forms, isolation register, keys management, and lockout/tagout history? |  |  |  | 2
4 | Does the application provide for and manage confined space entry documentation? |  |  |  | 2
Equipment History – Part C
1 | Are problem, cause, failure and action codes grouped, nested and hierarchical? |  |  |  | 1
2 | Is there a troubleshooting database (i.e., based on analysis of problem, cause and action codes) to assist in diagnosing equipment repair problems? |  |  |  | 2
3 | Will the system track the full impact of each incident or work order (other than maintenance costs such as labor, materials, contractors, etc.) including operational downtime cost, environmental impact/cost, quality impacts/cost, safety impacts/cost, and other user-definable impacts/costs? |  |  |  | 2
4 | Does the application provide for asset reporting at all levels of the asset hierarchy? |  |  |  | 1
5 | Can the system report on mean-time-between-failures for an asset or a specific root cause? |  |  |  | 2
6 | Can the system report on time since last failure trend for any problem, cause, or action code? |  |  |  | 2
7 | Can the application analyze and report on relative frequencies, consequences, and probabilities of equipment failure (i.e., using Pareto analysis, predictive trending, root cause analysis, correlation, forecasting, etc.)? |  |  |  | 2
Financial Asset Records – Part D
1 | Does the application provide for storage of asset financial attributes including date asset placed-in-service, original asset cost (including direct and indirect overhead costs), depreciation, expected useful life, retirement cost/salvage value, and date retired? |  |  |  | 1
2 | Does the system provide for standard reports on financial information related to fixed asset roll forward, depreciation expense, and fixed asset retirements? |  |  |  | 2
WORK ORDER MANAGEMENT – CATEGORY 3
Workflow and Business Logic – Part A
1 | Are embedded business rules easily customizable by the user (e.g., approval limits and routing)? |  |  |  | 2
2 | Is workflow software fully integrated into the application, including graphical workflows, drag and drop steps, multiple decision points, priorities, and reject or approval processes? |  |  |  | 2
3 | Does the application make use of status fields with links to workflow, alarming, and notifications? |  |  |  | 2
4 | Can you define approvals for status changes for work orders, purchase orders, etc.? |  |  |  | 2
5 | Will the application trigger a user-defined notification such as an alarm, email, or work order activation when a predefined action takes place (i.e. PM inspection exceeds control limits, equipment downtime exceeds threshold, equipment due for calibration or warranty)? |  |  |  | 2
Work Requests/Work Order Control – Part B
1 | Can work requests be created via email and processed automatically by the application? |  |  |  | 2
2 | Can work request originators receive email acknowledgement that the work request was received and/or approved? |  |  |  | 2
3 | Can originators determine work request status at any time (e.g., reviewed by planner, % complete)? |  |  |  | 2
4 | Can originators receive acknowledgement when work request is rejected, including explanation? |  |  |  | 2
5 | Does the application provide a means of viewing parts information from within the work order screen including parts on hand, reserved (committed), on order, in transit, and received by not yet inspected? |  |  |  | 2
6 | Does the application provide a view of the repair history of equipment and components to be worked on from within the work order? |  |  |  | 2
7 | Can drawings, vendor O&M manuals, and other documents be retrieved from within the work order screen? |  |  |  | 1
8 | Is there a hierarchy of work orders where each level can be scheduled separately? |  |  |  | 2
9 | Can a blanket or standing work orders be created for planning and recording small jobs (i.e., to avoid issuing a separate work order for repetitive jobs under 30 minutes such as cleanup or setup)? |  |  |  | 1
10 | On a work order, can users easily select new, reconditioned or used parts or components? |  |  |  | 2
11 | Can users be limited to charge work order costs (time, materials, equipment) to specific cost centers (with assigned default cost centers)? |  |  |  | 2
12 | Does the application handle equipment warranties including summary reporting, claim flags, multiple warranties per asset, warranty types, renewals, parent/child options, and group/master warranties? |  |  |  | 2
Event Tracking – Part C
1 | Does the application provide for event tracking, with event types or classes (e.g. emergencies), date/time stamps for event start and end, and estimated production loss? |  |  |  | 2
2 | Can the user record activities and actions that make up the event, track the problem/cause/action codes for the event, and estimate probability and/or time for recurrence of the event? |  |  |  | 3
Problem/Cause/Action Hierarchy – Part D
1 | Does the application have the ability to assign problem codes to work orders, with code groupings that are tied to an asset or asset group? |  |  |  | 1
2 | Are action codes grouped and tied to a given problem/cause/asset combination, with a master list of problem/cause/action hierarchy? |  |  |  | 2
Work Order Reporting – Part E
1 | Is production downtime (e.g. out-of-service) distinguished from equipment breakdown, and are both tracked and reported on using reason codes for equipment availability? |  |  |  | 2
2 | Are repaired parts tracked (e.g. serialized parts tracking) and internal shop charges tracked for parts repairs (e.g. machining in-house)? |  |  |  | 3
3 | Does the application have default Failure Mode Effects and Consequence Analysis reports? |  |  |  | 2
Approvals – Part F
1 | Does the application book total dollars for planned labor & material used in establishing approval levels? |  |  |  | 2
2 | How does the system handle cost overruns for total labor/material dollars booked? |  |  |  | 3
3 | Can the user define approvals for status changes for Work Orders? |  |  |  | 2
4 | Can the user set up multiple approvals where routing and notifications are automated? |  |  |  | 2
5 | Can the user set up alternative approvals, e.g., when primary approver is on vacation? |  |  |  | 1
6 | Can the user define approval limits as a range of costs? |  |  |  | 3
Work Order Closure – Part G
1 | Does the application allow restrictions on re-opening and charging labor/materials to closed work orders? |  |  |  | 2
2 | Can the user prevent closing a work order based on work order status (e.g. missing/wrong info) or asset status (e.g. pending disposition)? |  |  |  | 1
3 | Can the user record final asset disposition status before closing the work order? |  |  |  | 2
CONDITION BASED MAINTENANCE – CATEGORY 4
Preventive and Condition-Based Maintenance – Part A
1 | Is there a standard library of industry data (e.g., typical assets found in water facilities) available in the application? |  |  |  | 2
2 | Does the application support preventive maintenance (PM) task definitions with estimated task times? |  |  |  | 1
3 | Does the application support corrective maintenance (CM) task definitions with RCM conditions and safety checklists linked to tasks? |  |  |  | 2
4 | Can the user trigger PMs by calendar interval (e.g., every week), calendar anniversary (e.g., every Feb 3 and Mar 7), run-time interval (e.g., every 20 hrs. use), run time (e.g., perform at 2000 hrs. only), and event (e.g., a major storm)? |  |  |  | 1
5 | Can the user establish PM procedures and schedules as a single set up for an equipment group (e.g., motors, pumps), and then establish exception triggers that are specific to an individual piece of equipment within that group? |  |  |  | 2
6 | Can the user schedule the next PM based on the last performed date (e.g., change the next scheduled PM to reflect the established PM interval once the PM has been completed)? |  |  |  | 1
7 | Can users easily identify open, missed, and incomplete PMs? |  |  |  | 1
8 | Can PMs be triggered by condition indicator (e.g. linked data from SCADA), including multiple indicators per asset, nesting of triggers with different cycles, and recommended corrective actions? |  |  |  | 2
9 | Can the application trigger PMs on a preferred day or date if meter reading is within tolerance? |  |  |  | 2
10 | Does the application contain functionality for PM shadowing to avoid duplicate PM's? |  |  |  | 1
11 | Can the application forecast and schedule the next meter reading based on historical readings? |  |  |  | 3
12 | Can the application trigger PMs based on calculations of previous asset condition readings (e.g., average, average variance, sum, median, max, or min of last 10 readings must be within certain control limits)? |  |  |  | 3
13 | Can the application trigger PMs based on other data fields in the CMMS? (e.g., when ultrasonic reading is greater than the nominal wall thickness by a given factor)? |  |  |  | 3
14 | Can the application trigger PMs by time, usage, events, condition, or external inputs (e.g. SCADA run times)? |  |  |  | 2
15 | Can PM history be used to automatically correct or update future PM schedules? |  |  |  | 3
16 | Does the application allow for PM scheduling based on a specified hour (e.g. 9:00 pm at start of night shift), number of recurrences, recurring months/weeks/days of the week, specific calendar dates, specific dates as exceptions (e.g. blackout periods), and seasonal driven (summer and winter)? |  |  |  | 2
17 | Is there a master PM Schedule that displays forecasted PM cycles, shutdown periods, peak production periods, and holidays? |  |  |  | 2
18 | Can the user establish the sequence of assets in a grouped/multiple PM activity? |  |  |  | 2
19 | Can the user identify a 'critical percent' for each asset/procedure (where 0% = PM just done, 100% = PM just due, 200% = PM not done after one complete cycle, etc.)? |  |  |  | 3
20 | Can the system generate and track a Facility Condition Index, a standard index used to assess the condition of a building asset, defined as the ratio of renewal cost in a given year to the replacement cost of an asset converted to a percentage (i.e., facility is in good condition if FCI less than 5% and in critical condition of FCI greater than 20%? |  |  |  | 3
Inspection & Risk Assessment (PD) – Part B
1 | Can the application manage multiple inspections at multiple points on a single asset? |  |  |  | 1
2 | Can the application manage the results of risk-based assessments that assign probability and criticality of failure for each asset? |  |  |  | 1
3 | Can the user define a confidence rating on the calculated risk for each asset? |  |  |  | 2
4 | For a given inspection, can the application provide nominal (i.e. expected) values? |  |  |  | 2
5 | Can the user define a formula to determine the critical value for inspection readings? |  |  |  | 3
6 | Can the application automatically trigger a PM, or delay scheduled PMs, if a critical value is reached on an inspection? |  |  |  | 2
7 | Can the user define minimum and maximum threshold values for inspection readings? |  |  |  | 1
8 | Can the user define a tolerance percent for inspection readings? |  |  |  | 2
9 | Can application use regression analysis to predict the next date for reaching the critical value? |  |  |  | 3
10 | Can user record an extreme value (i.e., cannot exceed this amount) for inspection readings? |  |  |  | 2
INVENTORY CONTROL / PURCHASING – CATEGORY 5
Inventory Control and Purchasing – Part A
1 | Is the inventory module structured to support various methods of managing inventory, including LIFO, FIFO, average costing, and standard costing? |  |  |  | 2
2 | Is EOQ calculated in the inventory module? |  |  |  | 2
3 | Are ABC and XYZ analyses done within the application? |  |  |  | 3
4 | Does the reorder point have smoothing capability (i.e., to avoid spikes from heavy PM usage, projects, shutdowns, etc.)? |  |  |  | 3
5 | Are service levels analyzed by part and part category? |  |  |  | 2
6 | Can the user conduct 'what-if' analyses on service levels to estimate resultant inventory values and to understand the relationship between reorder points and lead times? |  |  |  | 3
7 | Is inventory usage history automatically checked to recommend adjustments to reorder points, lead times, and maximum levels? |  |  |  | 3
8 | Can the user toggle between a graphics parts book and the equipment/parts master, including drill down on graphic hot spots and corresponding drill down on the equipment and parts master hierarchy? |  |  |  | 3
9 | Can individual parts or components be serialized, and entire repair history and associated costs tracked (i.e., move history from receipt to placement in equipment, to vendor repair, to receipt upon return, to inventory costed at actual repaired value, to new parent equipment)? |  |  |  | 2
10 | Is there cross-referencing from inventory stock numbers to equipment number to asset number to manufacturer part numbers? |  |  |  | 2
11 | Is there a conversion capability for multiple units of measure (e.g., issue units and order units)? |  |  |  | 3
12 | Does the system handle fractional quantities and accommodate at least three decimal points for unit price? |  |  |  | 3
13 | Does the system handle multi-warehouse sites and multiple storerooms at a single site? |  |  |  | 1
14 | Does the application handle kitting for spare parts (i.e., set up at item master level defining parent-child list of items in a kit, manage assembly and disassembly of kits; manage transactions of kits including issues, receipts, and transfers)? |  |  |  | 2
15 | Can the user ensure that an inventory item is subject to receiving inspection, including ability to accept or reject item with reason codes and ability to analyze/report on receiving inspection results and statistics? |  |  |  | 2
16 | Does the application provide for the cycle counting of inventory parts and materials? |  |  |  | 2
17 | Can the user build a hierarchy of parent/child relations between supplier companies? |  |  |  | 2
18 | Does the application track supplier history including total dollars shipped, number of over/under-shipments, number of times back-ordered, number of late shipments, number of times damaged goods shipped, cost of rejects, poor packaging, wrong material, and user-defined fields? |  |  |  | 2
19 | Can the user rate suppliers, i.e., both table-driven “qualitative” ratings and "quantitative" ratings with system-calculated values tied to supplier history and qualitative ratings? |  |  |  | 3
20 | Can the system handle e-procurement (e.g., internal e-catalogue, link to external e-catalogue, list of frequently purchased items, integrated shopping cart to build purchaser orders, quotations, and vendor invoices)? |  |  |  | 2
21 | Does the application have a purchase order system that includes tracking of the following information: expected delivery dates, multiple account codes, status codes, multiple ship-to locations, tax codes, receiving acknowledgements, and under/over receipt % tolerance? |  |  |  | 2
Spare Parts Selection – Part B
1 | Can the user flag parts as critical spares? |  |  |  | 1
2 | Can the user flag parts as to hazardous materials? |  |  |  | 1
3 | Can the user drill down on standard parts to view nameplate detail from the inventory control module? |  |  |  | 2
4 | Can the user access drawings showing standard parts for the asset and linked to the detailed parts information? |  |  |  | 1
5 | Can the user see detailed parts status from within the work order screen? |  |  |  | 2
6 | Can the user view stock levels of each part within the work order screen? |  |  |  | 2
7 | Can the user select parts from multiple warehouses within the work order screen? |  |  |  | 3
8 | Can the user receive parts back into stores as quantity to be repaired and block the parts from selection? |  |  |  | 3
9 | Will the parts list for required materials/supplies print with PM activities? |  |  |  | 3
CALIBRATION MANAGEMENT – CATEGORY 6
Calibration Module Features – Part A
1 | Does the application have a calibration module with an equipment master list specific to calibration instruments and loops, gauges, test equipment, etc.? |  |  |  | 2
2 | Does the application record instrument calibration parameters and setpoints? |  |  |  | 2
3 | Does the application track parts and suppliers linked to calibration instruments/test gear? |  |  |  | 2
4 | Does the application allow the user to define test points and link the test points to the calibration? |  |  |  | 2
5 | Does the application allow for standard operating procedures (SOP's) for calibration, and associate SOP #'s for calibration instruments/test gear? |  |  |  | 2
6 | Can the application create PM's that drive calibration work orders? |  |  |  | 2
7 | Can the application automatically calculate, schedule and track calibration due dates and cycles? |  |  |  | 2
8 | Does the application define kits of instruments, track all issuances, and batch calibration scheduling for kits? |  |  |  | 3
9 | Does the application set up, compare and track your calibration results, including calibration sequences, test point data, tolerances, process control limits, 'As Found' results, 'As Left' results, action taken, and calibration status? |  |  |  | 3
10 | Can a system-generated calibration status be based on tolerance/alert limits and actual reading (i.e., status = pass, fail, recalibrate, etc.)? |  |  |  | 2
11 | Does the application generate standard reports including calibration instrument inventory; calibration equipment listing showing equipment requiring calibration; calibration history for a given instrument/loop; and reverse traceability report to show work orders for calibrated equipment? |  |  |  | 2
12 | Can the user schedule and manage calibration of gauges and test equipment? |  |  |  | 2
13 | Does the application record and manage to measurement standards? |  |  |  | 3
ANALYSIS / REPORTING – CATEGORY 7
Analytical Reporting – Part A
1 | Does the application provide a “Dashboard” view for facilities, assets, work orders, and planned/scheduled activities including visual performance metrics (e.g. stoplights, gauges, icons)? |  |  |  | 1
2 | Does the application provide ‘Drill-around' capability that allows the user to easily navigate between modules, for example from equipment records, to maintenance history, to spare parts inventory, to purchase order history, to vendors, to current pricing on the equipment? |  |  |  | 2
3 | Is there 'drill-down' capability for dashboards, (i.e., any element such as a gauge or stop sign can be drilled down to get live data, single click access to summary data regarding each element, continuous drill-down for greater detail)? |  |  |  | 2
4 | Can the user customize the view for a listing (i.e., user can adjust column width, drag and drop columns, word wrap within a column, etc.)? |  |  |  | 3
5 | Are reports, listings, queries, and graphs generated within the application easily customizable by the user for sorting, ranking, filtering, formatting, subtotals, etc.? |  |  |  | 1
6 | Does the application have an analytics module that allows users to create parameters, then create equations with these parameters, determine correlation, conduct time series analysis, and perform probability calculations on these parameters? |  |  |  | 2
7 | Does the application provide a balanced scorecard report with integration to organization strategic goals/objectives, customized scoring, etc.? |  |  |  | 3
8 | Does the application provide a report for key performance indicators (KPIs) and targets that are user customizable, linked to real-time data, include graphs of historical trends, and have defined low/high/acceptable ranges for each KPI? |  |  |  | 2
Budgeting and Cost Reporting – Part B
1 | Can the user budget and track actual maintenance costs against budget within the application? |  |  |  | 2
2 | Is the budgeting module directly integrated with the planned hours and planned material usage on the work orders? |  |  |  | 2
3 | Can the user perform 'what-if' analysis on the budget by generating work orders or preparing a work plan in simulation mode, with an opportunity to accept or reject results of the simulation? |  |  |  | 3
4 | Is activity-based-costing (ABC) fully integrated into the application? |  |  |  | 1
5 | Does the application handle 'cradle to grave' asset lifecycle accounting, i.e., covers all aspects of accounting from the original decision to replace versus repair an asset, developing the business case, acquiring the asset, deploying it, maintaining it, through redeployment, retirement and disposal? |  |  |  | 1
6 | Can the user track and summarize 'parent' and 'child' year-to-date and total lifecycle costs (i.e. TCO or total cost of ownership) within the equipment hierarchy? |  |  |  | 2
7 | Can the user track equipment costs by user-defined statistics (e.g., cost per ton produced, cost per mile, cost per million gallons processed)? |  |  |  | 3
8 | Can the user track and summarize work order and project costs broken down by labor, material, contract, etc.? |  |  |  | 1
Failure/Statistical Analysis – Part C
1 | Does the application provide for failure analysis of equipment that has for what ever reason failed in process? |  |  |  | 3
2 | Are frequencies and probabilities analyzed for problems/complaints, root causes, and actions taken? |  |  |  | 2
3 | Is Pareto analysis done for problem/cause/failure/action codes? |  |  |  | 3
4 | Is mean-time-between-failures (MTBF) tracked and determined for specific root causes? |  |  |  | 3
5 | Is mean-time-to-repair (MTTR) tracked? |  |  |  | 3
6 | Is mean-wait-time (MWT) tracked? |  |  |  | 3
7 | Is time since the last failure tracked by failure types, user-defined root causes, user-defined actions taken, and from the last checkpoint? |  |  |  | 3
8 | Is down time tracked by asset? |  |  |  | 2
9 | Does the application support statistical analysis of frequencies and probabilities for critical application data, including idle or delay time, work order status history, equipment availability, equipment performance, and product quality? |  |  |  | 3
10 | Does the application support asset related analyses for reliability, performance, utilization, availability, and quality impacts? |  |  |  | 3
Note on A101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per Matt W: have a problem with actual pay information in another system outside of ADP. Pay info should be confidential and would propose to use standard rates for various functions.